## Slide 1: Development of an Apple iPhone IOL Calculator Application for Cataract Surgery
Rony Gelman, MD1, Richard E. Braunstein, MD1
1Department of Ophthalmology, Columbia University College of Physicians and Surgeons, New York, NY
The authors have no financial interest in the subject matter of this poster.

## Slide 2: Purpose
To demonstrate the feasibility of an intraocular lens (IOL) calculator application (commonly referred to as an “app”) for the Apple iPhone mobile device platform.
To compare the results of the app against the IOLMaster reference standard for a set of test cases.

## Slide 3: Methods
The iPhone software development kit (Xcode version 3.2.5; Apple Inc., Cupertino, CA) was used to develop the IOL calculator app.
The app was developed on an iMac (2.66 GHz Intel Core 2 Duo; 4 GB 1067 MHz DDR3; Apple Inc., Cupertino, CA) running Mac OS X (version 10.6.6).
The iPhone app was tested on the iOS Simulator (version 4.2) and an iPhone (model 3G S; 16GB memory; iOS version 4.2.1; Apple Inc., Cupertino, CA).

## Slide 4: Methods - continued
The IOL calculator app implements four standard intraocular lens calculations used for cataract surgery:
  Hoffer Q1-4
  Holladay 15
  SRK II6,7
  SRK/T8
The IOLMaster (version 5.4; Carl Zeiss Meditec AG, Jena, Germany) was used as a reference standard.

## Slide 5: Methods - continued
10 patients (20 eyes) were selected from a database of patients that underwent cataract surgery with biometry data obtained from an IOLMaster.
4 intraocular lens models were selected per eye.
For each lens, the 4 IOL formulas were tabulated for 7 refractive targets.
The combinations of eyes, lenses, IOL formulas, and refractive targets yielded 2,240 intraocular lens power data points for comparison between the iPhone IOL calculator app and the IOLMaster.

## Slide 6: Results
The IOL calculator app was successfully implemented using the stated Apple hardware and software (figure 1,2).
Characteristics of the 10 test cases (20 eyes) are listed in table 1:
  Axial lengths ranged from 22.56-27.04 mm.
  Mean keratometry values ranged from 40.94-45.86 D.

## Slide 7: Figure 1: Screen shots of the IOL calculator app
(a) About tab. The home screen which lists app version, IOL power formulas implemented, and links to e-mail others about the app or e-mail us questions/feedback.
(b) Input tab. Four variables must be entered: axial length, mean keratometry, desired correction, and an IOL A constant.

## Slide 8: Figure 2: Screen shots of the IOL calculator app
(a) Input tab. An example with the specified input variables. Clicking “Done” goes to the “Results” tab shown in (b).
(b) Results tab. The highlighted row shows the 4 formula IOL powers corresponding to the desired correction in (a). Also displayed on the tab are values for a range of other refractive targets (-2.00 to +2.00 D).

## Slide 9: Table 1: Characteristics of the IOLMaster test cases
Test Case # | OD |  |  | OS |  |  | Selected IOLs OU
 | Axial Length (mm) | Mean Keratometry (D) | Desired Correction Range (D) | Axial Length (mm) | Mean Keratometry (D) | Desired Correction Range (D) | 
1 | 23.50 | 44.06 | -1.90 to +0.82 | 23.39 | 44.26 | -1.91 to +0.80 | MTA4UO, SA60AT, SN60WF, SN6AT3
2 | 23.58 | 43.46 | -1.90 to +0.90 | 23.49 | 42.46 | -1.86 to +0.90 | MA60AC, MTA4UO, SA60AT, SN60WF
3 | 26.26 | 42.19 | -1.80 to +1.20 | 26.25 | 42.46 | -2.00 to +1.00 | MTA4UO, SA60AT, SN60WF, SN6AT3
4 | 27.04 | 40.94 | -2.10 to +0.90 | 26.87 | 40.96 | -2.20 to +0.80 | MA60AC, MTA4UO, SA60AT, SN60WF
5 | 22.56 | 45.86 | -1.90 to +0.70 | 22.75 | 45.52 | -1.90 to +0.83 | MA60AC, MTA4UO, SA60AT, SN60WF
6 | 23.91 | 45.80 | -1.80 to +0.80 | 24.38 | 45.16 | -1.80 to +1.20 | MA60AC, MTA4UO, SA60AT, SN60WF
7 | 25.55 | 43.70 | -1.90 to +1.10 | 24.92 | 44.27 | -1.90 to +1.20 | MTA4UO, SA60AT, SN60WF, SN6AT3
8 | 23.99 | 45.09 | -1.90 to +0.81 | 23.74 | 45.61 | -1.90 to +0.90 | MA60AC, MTA4UO, SA60AT, SN60WF
9 | 23.69 | 44.50 | -1.85 to +0.90 | 23.67 | 44.35 | -1.80 to +0.90 | MA60AC, MTA4UO, SA60AT, SN60WF
10 | 23.45 | 42.92 | -1.90 to +0.90 | 23.50 | 43.80 | -1.90 to +0.80 | MN60MA,MTA4UO,SA60AT,SN60WF
Minimum | 22.56 | 40.94 |  | 22.75 | 40.96 |  | 
Maximum | 27.04 | 45.86 |  | 26.87 | 45.61 |  | 
Mean (SD) | 24.35 (1.43) | 43.85 (1.57) |  | 24.30 (1.33) | 43.88 (1.50) |  | 

## Slide 10: Results - continued
All 2,240 (100%) IOL powers calculated by the iPhone IOL calculator app agreed with those derived from the IOLMaster.

## Slide 11: Conclusion
It is feasible to develop an intraocular lens calculator app for the Apple iPhone platform.
The IOL calculator app showed agreement with the IOLMaster reference standard.
Future work will include a larger test database, including more extreme ranges of axial lengths, mean keratometries, and target refractions, as well as tests of other IOL models.

## Slide 12: References
1Hoffer KJ. The Hoffer Q formula: a comparison of theoretic and regression formulas. J Cataract Refract Surg. 1993;19(6):700-12.
2Zuberbuhler B, Morrell AJ. Errata in printed Hoffer Q formula. J Cataract Refract Surgery. 2007;33(1):2; author reply 2-3.
3Hoffer KJ. Errors in self-programming the Hoffer Q formula. Eye (Lond). 21(3):429; author reply 430. Epub 2006 Sep 29.
4Basu S. Reply to Dr. Haigis. Re: Errors in self-programming the Hoffer Q formula. Eye (Lond). 21(4):550 Epub 2006 Sep 29.
5Holladay JT, Prager TC, Chandler TY, et al. A three-part system for refining intraocular lens power calculations. J Cataract Refract Surg. 1988;14(1):17-24.
6Sanders DR, Retzlaff J, Kraff MC. Comparison of the SRK II formula and other second generation formulas. J Cataract Refract Surg. 1988;14(2):136-41.
7Dang MS, Raj PP. SRK II formula in the calculation of intraocular lens power. Br J Ophthalmol. 1989;73(10): 823-6.
8Retzlaff JA, Sanders DR, Kraff MC. Development of the SRK/T intraocular lens implant power calculation formula. J Cataract Refract Surg. 1990;16(4):333-40. Erratum in: J Cataract Refract Surg. 1990;16(4):528.